-20 Zooplankton Isotope Sampling Protocol

# Filtering the sample

## Sieving the sample

- Place the sieve column inside a busbin. Make sure that your sieves are in the correct order of descending size: 4000µm, 2000µm, 1000µm, 500µm, 250µm, 125µm, 64µm (With a 250µm net your smallest sieve will be 250µm).

- Slowly pour the zooplankton sample through the set of sieves.

- Using a filtered seawater sprayer, gently spray down the top sieve (4mm) so that any animals smaller than 4mm wash into the sieve below. Keep the sieve on the column while doing this so that any animals that pass through will fall into subsequent sieves. Now, remove the 4mm sieve from your stack.

- Repeat the washing down process for each subsequent sieve until you reach the smallest sieve in the set. DO NOT WASH DOWN THE LAST SIEVE.

## Handling the 4000 size fraction
If your net sample does not contain anything in the 4000µm sieve (or any other fraction), record a missing ID. Otherwise, follow the instructions below:

- Separate gelatinous zooplankton from all other zooplankton.

- Transfer all of non-gelatinous plankton to a pre-combusted and pre-weighed GF/F filter and all of the gelatinous plankton to another.

  - Use the smallest filter possible, especially for gelatinous species. If there is not much zooplankton material then a 25mm filter should be used. If there is a lot of material, use a 47mm filter.

  - If there is a large jelly that does not fit on a filter then transfer it to a pre-weighed petri dish and record the weight of the jelly with the dish.

- Make a note of each filter's dominant composition (e.g. Crustacean or Gelatinous or, where applicable: Euphausiid, Amphipods, Limacina, etc.)

- Record a wet weight of each filter with a sample.

- Enter the sample IDs, dominant composition, and weight into the survey form and inventory.

- If multiple filters or filters + petri dishes are used within a dominant composition, then mark each as being a partial sample (for e.g., 1 of 2).

- Transfer to a -20 freezer.

## Handling all other size fractions

For each sieve:

- Wash the contents of the sieve into a jug using the filtered seawater sprayer.

- Take a pre-combusted and pre-weighed GF/F filter from its microplate holder and place it on your filtering apparatus.

  - If there is not much zooplankton material then a 25mm filter should be used. If there is lots of material, use a 47mm filter.

- Pour and rinse contents of your jug into the filter funnel and turn on the pump. Pressure must not exceed -0.5 bar.

- Filter the entire zooplankton size fraction onto the filter (you may/should use multiple filters if there is a lot of material). Make sure to wash down the sides of the beaker and filter funnel with filtered sea-water as zooplankton tend to stick to the sides of both.

- Once all water has drained from the funnel turn the pump off and release pressure by removing the filtering cup from the manifold.

- Remove the filter, and place back into its corresponding microplate.

- If there are any animals stuck on the base of the filter funnel remove them with forceps and add to the sample.

- Label the sample with a station size fraction sticker. If there are multiple filters for a size fraction mark both filters as being a partial sample (e.g., 1 of 2).

- Repeat process for each subsequent sieve, rinsing filter funnel after each use.

- Note the dominant composition for each filter. e.g., phytoplankton (usually only the 125µm and 64µm size), Crustacean, Gelatinous, Limacina - you may record more than 1

- Weigh each filter with its contents.

- Enter the sample IDs, dominant composition, and weight into the survey form and inventory.

- Transfer to a -20 freezer for storage.

# Drying and weighing isotope samples

- Wipe the inside of the oven with ethanol

- Remove the lid from the petri slide and examine it. If there are plankton stuck on the lid use your forceps to remove them and add them to the filter.

- Wipe forceps with ethanol after each use.

- Place the petri lid partially back onto the slide, only half covering the filter so that the sample is exposed and can dry.

- Set the drying oven to 60C and turn power ON.

- Dry samples for 24-36 hrs until fully dry (May take longer for some zooplankton).

- Remove samples from oven and weigh immediately if possible (If the samples must be weighed later, store them in the desiccator).

- Wipe the surface of the microbalance and your forceps with ethanol before starting and between each sample.

- Record a dry weight for each sample and upload to the Hakai Data Portal.

- Store samples in a desiccator.

# Sending samples for isotope analysis

Samples can be encapsulated in house prior to being sent to the University of California Davis Stable Isotope Facility for analysis following the protocol outlined by the lab.